## Main
Region | Country | Prov State | Station Name | WMO | WBAN | Lat | Lon | Elev | StdP | TZ Offset | TZ Code | Period | Climate Zone | Coldest Month | Heating DB (°C) |  | Humidification DP/MCDB and HR (°C) | [5 empty] | Coldest Month WS/MCDB (°C) |  |  |  | MCWS/PCWD to 99.6% DB (°C) |  | Hottest Month | Hottest Month DB Range | Cooling DB/MCWB (°C) | [5 empty] | Evaporation WB/MCDB (°C) | [5 empty] | MCWS/PCWD to 0.4% DB (°C) |  | Dehumidification DP/MCDB and HR (°C) | [8 empty] | Enthaply/MCDB (°C) | [5 empty] | Extreme Max WB (°C) | Extreme Annual WS (°C) |  |  | Extreme Annual DB (°C) |  |  |  | n-Year Return Period Values of Extreme DB (°C) | [7 empty] | Extreme Annual WB (°C) |  |  |  | n-Year Return Period Values of Extreme WB (°C) | [7 empty] | Average Daily Temperature (°C) | [12 empty] | Standard Deviation of Average Daily Temperature (°C) | [12 empty] | Heating Degree Days 10°C (HDD10.0) | [12 empty] | Heating Degree Days 18.3°C | [12 empty] | Cooling Degree Days 10°C | [12 empty] | Cooling Degree Days 18.3°C (CDD18.3) | [12 empty] | Cooling Degree Hours 23.3°C (CDH23.3) | [12 empty] | Cooling Degree Hours 26.7°C (CDD26.7) | [12 empty] | Average Wind Speed (m/s) | [12 empty] | Average Precipitation (mm) | [12 empty] | Maximum Precipitation (mm) | [12 empty] | Minimum Precipitation (mm) | [12 empty] | Standard Deviation of Precipitation (mm) | [12 empty] | 0.4% Monthly Design Dry Bulb Temperature (°C) | [11 empty] | Mean Wet Bulb Coincident with 0.4% Monthly Design Dry Bulb Temperature (°C) | [11 empty] | 2% Monthly Design Dry Bulb Temperature (°C) | [11 empty] | Mean Wet Bulb Coincident with 2% Monthly Design Dry Bulb Temperature (°C) | [11 empty] | 5% Monthly Design Dry Bulb Temperature (°C) | [11 empty] | Mean Wet Bulb Coincident with 5% Monthly Design Dry Bulb Temperature (°C) | [11 empty] | 10% Monthly Design Dry Bulb Temperature (°C) | [11 empty] | Mean Wet Bulb Coincident with 10% Monthly Design Dry Bulb Temperature (°C) | [11 empty] | 0.4% Monthly Design Wet Bulb Temperature (°C) | [11 empty] | Mean Dry Bulb Coincident with 0.4% Monthly Design Wet Bulb Temperature (°C) | [11 empty] | 2% Monthly Design Wet Bulb Temperature (°C) | [11 empty] | Mean Dry Bulb Coincident with 2% Monthly Design Wet Bulb Temperature (°C) | [11 empty] | 5% Monthly Design Wet Bulb Temperature (°C) | [11 empty] | Mean Dry Bulb Coincident with 5% Monthly Design Wet Bulb Temperature (°C) | [11 empty] | 10% Monthly Design Wet Bulb Temperature (°C) | [11 empty] | Mean Dry Bulb Coincident with 10% Monthly Design Wet Bulb Temperature (°C) | [11 empty] | Mean Daily Dry Bulb Temperature Range (°C) | [11 empty] | Mean Daily Dry Bulb Temperature Range Coincident with 5% Design Dry Bulb Temperature (°C) | [11 empty] | Mean Daily Wet Bulb Temperature Range Coincident with 5% Design Dry Bulb Temperature (°C) | [11 empty] | Mean Daily Dry Bulb Temperature Range Coincident with 5% Design Wet Bulb Temperature (°C) | [11 empty] | Mean Daily Wet Bulb Temperature Range Coincident with 5% Design Wet Bulb Temperature (°C) | [11 empty] | Clear-Sky Noon Beam Normal Irradiance on 21st Day (W m-2) | [11 empty] | Clear-Sky Noon Diffuse Horizontal Irradiance on 21st Day (W m-2) | [11 empty] | All-Sky Average Monthly Global Horizontal Radiation (W m-2) | [11 empty] | All-Sky Standard Deviation of Monthly Global Horizontal Radiation (W m-2)
[17 empty] | 99.6% |  |  | 99.0% |  |  | 0.4% |  | 1% | [5 empty] | 0.4% |  | 1% |  | 2% |  | 0.4% |  | 1% |  | 2% |  |  |  | 0.4% |  |  | 1% |  |  | 2% |  |  | 0.4% |  | 1% |  | 2% | [5 empty] | Mean |  | Standard Deviation |  | n=5 years |  | n=10 years |  | n=20 years |  | n=50 years |  | Mean |  | Standard Deviation |  | n=5 years |  | n=10 years |  | n=20 years |  | n=50 years
[15 empty] | 99.6% | 99.0% | DP | HR | MCDB | DP | HR | MCDB | WS | MCDB | WS | MCDB | MCWS | PCWD |  |  | DB | MCWB | DB | MCWB | DB | MCWB | WB | MCDB | WB | MCDB | WB | MCDB | MCWS | PCWD | DP | HR | MCDB | DP | HR | MCDB | DP | HR | MCDB | Enth | MCDB | Enth | MCDB | Enth | MCDB |  | 1% | 2.5% | 5% | Min | Max | Min | Max | Min | Max | Min | Max | Min | Max | Min | Max | Min | Max | Min | Max | Min | Max | Min | Max | Min | Max | Min | Max | Annual | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Region | Country | Prov State | Station Name | WMO | WBAN | 31.3109 | 31.1486 | 0.82 | 101.32 | 2 | TZ Code | 2019/01/01 - 2025/12/31 | Climate Zone | 2 | 10.6 | 11.4 | 3.8 | 4.9 | 14.2 | 4.8 | 5.3 | 14.6 | 6.5 | 13.4 | 12.6 | 14.1 | 6.5 | 224 | 8 | 6.4 | 34.7 | 26.2 | 33.5 | 25.5 | 32.5 | 25.4 | 26.9 | 32.3 | 26.5 | 31.5 | 26.1 | 30.8 | 4.3 | 251 | 24.6 | 19.3 | 27.1 | 23.9 | 18.4 | 27 | 23.2 | 17.7 | 26.8 | 78 | 28.2 | 75.9 | 28.2 | 74 | 28.3 | 28.3 | 10.9 | 9.6 | 8.5 | 9.6 | 38 | 1.1 | 1.1 | 8.8 | 38.8 | 8.2 | 39.4 | 7.5 | 40 | 6.7 | 40.8 | 7.1 | 27.7 | 1 | 0.4 | 6.4 | 28 | 5.8 | 28.2 | 5.2 | 28.5 | 4.5 | 28.8 | 22.5 | 15.7 | 15.4 | 17.1 | 19.6 | 23.3 | 26.5 | 28.7 | 29.1 | 28 | 25.3 | 22.3 | 18.3 | 5.2 | 1.9 | 1.6 | 2.4 | 2.4 | 2.3 | 1.7 | 1.2 | 1 | 1.3 | 1.4 | 1.9 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 250.1 | 81.7 | 83.8 | 53.1 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0.4 | 20.1 | 4558.3 | 177.7 | 152.4 | 218.8 | 289.4 | 412.3 | 494.3 | 580.7 | 593.1 | 538.9 | 475.6 | 368.2 | 256.8 | 1776.5 | 2 | 1.4 | 14.6 | 51.4 | 155 | 245.3 | 323.4 | 335.8 | 289.9 | 218.3 | 119.6 | 19.7 | 15921.8 | 1 | 6.5 | 72.3 | 221.9 | 939.7 | 2168.1 | 3741.5 | 3990.6 | 3044.2 | 1382.6 | 347.7 | 5.7 | 5500 | 0 | 0.3 | 11.2 | 65.6 | 280.5 | 745.2 | 1520.5 | 1593.6 | 992.8 | 247.5 | 42.7 | 0 | 4.9 | 5.3 | 5.1 | 5.4 | 5.1 | 5.1 | 4.9 | 4.9 | 4.7 | 4.7 | 4.5 | 4.4 | 4.9 | 6.9 | 1.5 | 1 | 1.5 | 0.6 | 0 | 0 | 0 | 0 | 0.1 | 0.2 | 0.8 | 1.1 | 13.2 | 4 | 2.6 | 3.4 | 3.3 | 0.2 | 0.1 | 0.1 | 0 | 1 | 0.6 | 2.4 | 1.8 | 2.1 | 0 | 0.2 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1 | 3.7 | 1.3 | 0.8 | 1.2 | 1.1 | 0.1 | 0 | 0 | 0 | 0.3 | 0.2 | 0.8 | 0.7 | 22.7 | 24.2 | 28 | 33.2 | 34.2 | 35.5 | 35.9 | 36.2 | 35.4 | 32.2 | 29.7 | 24 | 16.4 | 15.2 | 17.1 | 20.7 | 21.9 | 25.1 | 26.7 | 26.6 | 26.8 | 24.9 | 21.8 | 18.4 | 20.9 | 20.9 | 25.5 | 28.1 | 31.5 | 32.9 | 34.5 | 34 | 33.3 | 30.2 | 27.9 | 22.9 | 16.2 | 15.3 | 17.3 | 18.9 | 21.5 | 25 | 26.4 | 26.3 | 26.2 | 23.4 | 21.8 | 17.3 | 19.9 | 19.3 | 22.7 | 25.5 | 29.5 | 31.5 | 33.3 | 33 | 31.9 | 29.1 | 26.4 | 21.9 | 15.3 | 14.6 | 16.7 | 18.2 | 21.4 | 24.3 | 25.9 | 26 | 25.5 | 23.1 | 21 | 17 | 18.9 | 18.2 | 20.7 | 23.7 | 28.1 | 30.5 | 32.3 | 32.2 | 30.9 | 28.1 | 25.2 | 21 | 14.6 | 14.1 | 15.8 | 17.8 | 20.9 | 23.9 | 25.4 | 25.7 | 25 | 22.8 | 20.3 | 16.6 | 17.7 | 17.1 | 19.2 | 20.7 | 23.8 | 26.5 | 27.8 | 27.4 | 27.4 | 25.4 | 23.3 | 19.7 | 21.3 | 20.5 | 26 | 30.9 | 30 | 32.8 | 33.4 | 33.3 | 34.5 | 30.7 | 27.3 | 22.7 | 17 | 15.8 | 18.1 | 19.8 | 22.6 | 25.7 | 27 | 26.8 | 26.5 | 24.3 | 22.2 | 18.6 | 19.6 | 19.3 | 21.6 | 24.5 | 29.5 | 31.4 | 32.5 | 32.3 | 32 | 28.3 | 25.2 | 21.4 | 16.2 | 15.2 | 17.3 | 18.9 | 21.9 | 25 | 26.5 | 26.4 | 26 | 23.8 | 21.7 | 18 | 18.7 | 18.7 | 21.1 | 24.7 | 27.9 | 29.4 | 31.3 | 31.7 | 31 | 27.4 | 25.1 | 20.7 | 15.5 | 14.6 | 16.5 | 18.3 | 21.3 | 24.4 | 26.1 | 26.1 | 25.5 | 23.2 | 21.2 | 17.3 | 18.3 | 17.8 | 20.3 | 22.3 | 26.8 | 28.7 | 30.5 | 31 | 29.8 | 27.4 | 24.3 | 20.2 | 5.3 | 5.3 | 6.4 | 7.3 | 7.9 | 7.4 | 7 | 6.4 | 5.8 | 5.2 | 5.1 | 4.8 | 6.6 | 8.8 | 9 | 9.1 | 8.7 | 7.7 | 7.2 | 6.5 | 6 | 5.4 | 5.5 | 5.3 | 2.9 | 3.6 | 3.2 | 2.9 | 2.7 | 2.2 | 2 | 2.1 | 2.2 | 2 | 2.2 | 2.4 | 5.7 | 8.2 | 8.7 | 8.4 | 8.3 | 7.5 | 7.1 | 6.5 | 5.9 | 5.3 | 5.3 | 4.9 | 2.7 | 3.7 | 3.4 | 3 | 2.6 | 2.2 | 2 | 2.1 | 2.2 | 2 | 2.2 | 2.4 | 735.1 | 788.9 | 755.5 | 722.4 | 732.6 | 737.1 | 753.4 | 764.3 | 748.5 | 731.2 | 721.2 | 724.5 | 163 | 172.3 | 223.1 | 263.3 | 258.5 | 241.8 | 223.4 | 207.2 | 202 | 182.2 | 159.6 | 147.5 | 3.1 | 3.9 | 5.1 | 6.3 | 7.2 | 7.7 | 7.6 | 7 | 5.9 | 4.6 | 3.4 | 2.8 | 0.6 | 0.8 | 0.9 | 1 | 0.9 | 0.6 | 0.3 | 0.3 | 0.4 | 0.6 | 0.5 | 0.5